## Sheet1
Product Group | Brand | Product Name | Available | Delivery | CW | Power(W) | Colour | Design | Length | Width | Height | Pcs Pal | Pcs ctn | price_label_1
Panels | TRINA | TRINA_DEG09R.08_420W_DUALGLASS | 13 |  |  | 420 | Black Frame | Double glass | 1 134 | 1 762 | 30 | 36 | 936 | 0.295
Panels | AVANCIS | AVANCIS SKALA 70W G001 | 1 |  |  | 70 | Frameless Full Anthracite (G001) |  | 664 | 1 587 | 38 | 20 |  | 276
Panels | AVANCIS | AVANCIS SKALA B001 140W Black | 1 |  |  | 140 |  |  | 664 | 1 587 | 38 | 20 |  | 2.229
Panels | AVANCIS | AVANCIS SKALA G002 130W Grey | 1 |  |  | 130 | Frameless Full Grey (G002) |  | 664 | 1 587 | 38 | 20 |  | 2.400
Panels | CANADIAN | CS6L-455MS_BF | 588 |  |  | 455 | Black Frame | Glass foil | 1 134 | 1 903 | 30 | 35 | 840 | 0.143
Panels | CANADIAN | CS6R-410 SF | 26 |  |  | 410 | Silver Frame | Glass foil | 1 134 | 1 722 | 30 | 35 | 910 | 0.341
Panels | CANADIAN | CS6R-415 BF | 40 |  |  | 415 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 35 | 910 | 0.168
Panels | CANADIAN | CS7L-595MS | 4 |  |  | 595 | Silver Frame | Glass foil | 1 303 | 2 172 | 35 | 31 | 527 | 0.144
Panels | CANADIAN | CS7N-665MS | 1 798 |  |  | 665 | Silver Frame | Glass foil | 1 303 | 2 384 | 35 | 31 | 558 | 0.218
Panels | CANADIAN | Canadian CS6R-440T n type topcon | 630 |  |  | 440 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 35 | 840 | 0.144
Panels | JASOLAR | JAM54D40-420-MB-BF | 132 |  |  | 420 | Black Frame | Double glass | 1 134 | 1 722 | 30 | 36 | 936 | 0.144
Panels | JASOLAR | JAM54D40-425-GB-BF | 13 |  |  | 425 | Black Frame | Double glass | 1 134 | 1 722 | 30 | 36 | 936 | 0.156
Panels | JASOLAR | JAM54D40-435-LB-BF | 5 508 | 06/2024 | 23 | 435 | Black Frame | Double glass | 1 134 | 1 722 | 30 | 36 | 936 | 0.152
Panels | JASOLAR | JAM54D40-445-LB-BF | 3 | 04/2024 | 16 | 445 | Black Frame | Double glass | 1 762 | 1 134 | 30 | 36 | 936 | 0.152
Panels | JASOLAR | JAM54S30-405-MR-BF | 22 |  |  | 405 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.144
Panels | JASOLAR | JAM54S30-410-MR-SF | 12 |  |  | 410 | Silver Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.138
Panels | AVANCIS | AVANCIS SKALA 140W | 1 |  |  | 140 |  |  | 664 | 1 587 | 38 | 20 |  | 2.229
Panels | JASOLAR | JAM54S30-415-GR-BF | 2 |  |  | 415 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.138
Panels | AVANCIS | AVANCIS SKALA 135W G001 Anthracite | 1 |  |  | 135 | Frameless Full Dark blue (7002) |  | 664 | 1 587 | 38 | 20 |  | 2.311
Panels | AVANCIS | AVANCIS SKALA 130W B | 1 |  |  | 130 |  |  | 664 | 1 587 | 38 | 20 |  | 2.400
Panels | TRINA | TRINA_NEG9R.28 n type 445 I-Topcon DualGlass | 330 |  |  | 445 | Black Frame | Double glass | 1 134 | 1 762 | 30 | 36 | 936 | 0.164
Panels | TRINA | TRINA_NEG9R.28 n type 450 I-Topcon DualGlass | 3 094 | 06/2024 | 25 | 450 | Black Frame | Double glass | 1 134 | 1 762 | 30 | 36 | 936 | 0.152
Panels | TRINA | TRINA_NEG9R.28_430W_DUALGLASS | 12 |  |  | 430 | Black Frame | Double glass | 1 134 | 1 762 | 30 | 36 | 936 | 0.288
Panels | TRINA | TRINA_NEG9R.28_435W_DUALGLASS | 2 |  |  | 435 | Black Frame | Double glass | 1 134 | 1 762 | 30 | 36 | 936 | 0.198
Panels | TRINA | TRINA_NEG9RC.27 n type 435 I-Topcon Bifacial DualG | 2 966 | 05/2024 | 19 | 435 | Black Frame | Bifacial | 1 134 | 1 762 | 30 | 36 | 936 | 0.172
Panels | TRINA | TRINA_TSM-550DE19 | 19 |  |  | 550 | Silver Frame | Glass foil | 1 096 | 2 384 | 35 | 31 | 620 | 0.353
Panels | TRINA | TRINA_TSM-555DE19 | 16 |  |  | 555 | Silver Frame | Glass foil | 1 096 | 2 384 | 35 | 31 | 620 | 0.352
Panels | TRINA | TRINA_TSM-650_DEG21C.20 | 66 |  |  | 650 | Black Frame | Bifacial | 1 303 | 2 384 | 33 | 33 | 594 | 0.193
Panels | TRINA | TRINA_DE09R.08_430W | 13 |  |  | 430 | Black Frame | Glass foil | 1 134 | 1 762 | 30 | 36 | 936 | 0.235
Panels | AVANCIS | AVANCIS POWERMAX SKALA 130W Green 4002 | 1 |  |  | 130 | Frameless Full Green (4002) |  | 686 | 1 595 | 45 | 20 |  | 2.400
Panels | AVANCIS | AVANCIS POWERMAX SKALA 150W B901 | 1 |  |  | 150 |  |  | 686 | 1 595 | 45 | 20 |  | 2.080
Panels | AVANCIS | AVANCIS SKALA 100W 1202 RED | 1 |  |  | 100 |  |  | 664 | 1 587 | 38 | 20 |  | 3.120
Panels | AVANCIS | AVANCIS SKALA 115W | 1 |  |  | 115 |  |  | 664 | 1 587 | 38 | 20 |  | 2.713
Panels | AVANCIS | AVANCIS SKALA 120W 3002 Gold | 1 |  |  | 120 | Frameless Full Gold (3002) |  | 664 | 1 587 | 38 | 20 |  | 2.600
Panels | AVANCIS | AVANCIS SKALA 130W | 1 |  |  | 130 |  |  | 664 | 1 587 | 38 | 20 |  | 2.400
Panels | AVANCIS | AVANCIS SKALA 135W 7002 Dark Blue | 1 |  |  | 135 | Frameless Full Dark blue (7002) |  | 664 | 1 587 | 38 | 20 |  | 2.311
Panels | JASOLAR | JAM54S30-415-MR-BF | 18 |  |  | 415 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.132
Panels | AVANCIS | AVANCIS SKALA 125W | 1 |  |  | 125 |  |  | 664 | 1 587 | 38 | 20 |  | 2.496
Panels | JASOLAR | JAM54S30-425-LR-BF | 12 |  |  | 425 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.132
Panels | JASOLAR | JAM72S30-545/MR | 262 |  |  | 545 | Silver Frame | Glass foil | 1 134 | 2 279 | 30 | 31 | 620 | 0.157
Panels | JINKO | JINKO Tiger Neo 72HL4-(V) 575W | 56 |  |  | 575 | Silver Frame | Glass foil | 1 134 | 2 278 | 35 | 31 | 620 | 0.172
Panels | LONGI | LR5-54HIH-410M | 29 |  |  | 410 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.272
Panels | LONGI | LR5-54HPH-415M | 61 |  |  | 415 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.228
Panels | LONGI | LR5-54HTB-435M | 20 |  |  | 435 | Full Black | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.168
Panels | LONGI | LR5-54HTH-420M | 25 |  |  | 420 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.258
Panels | LONGI | LR5-54HTH-440M | 3 372 | 07/2024 | 27 | 440 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.156
Panels | LONGI | LR5-66HPH-505M | 25 |  |  | 505 | Silver Frame | Glass foil | 1 134 | 2 094 | 35 | 31 | 682 | 0.248
Panels | LONGI | LR5-66HTH-525W | 590 |  |  | 525 | Black Frame | Glass foil | 1 134 | 2 094 | 35 | 31 | 682 | 0.156
Panels | LONGI | LR5-66HTH-530M | 125 |  |  | 530 | Black Frame | Glass foil | 1 134 | 2 094 | 35 | 31 | 682 | 0.192
Panels | JASOLAR | JAM72S30-545-MR-SF 35MM | 1 |  |  | 545 | Silver Frame | Glass foil | 1 134 | 2 279 | 35 | 31 |  | 0.138
Panels | LONGI | LR5-72HBD-550M | 209 |  |  | 550 | Silver Frame | Glass foil | 1 134 | 2 278 | 30 | 36 | 720 | 0.141
Panels | TRINA | TRINA_DE09R.08_425W | 5 |  |  | 425 | Black Frame | Glass foil | 1 134 | 1 762 | 30 | 36 | 936 | 0.134
Panels | TRINA | TRINA_DE09R.08W_415W | 91 |  |  | 415 | Black Frame | Glass foil | 1 134 | 1 762 | 30 | 36 | 936 | 0.266
Panels | TRINA | TRINA_DE09R.05_415W_Full black | 780 |  |  | 415 | Full Black | Glass foil | 1 134 | 1 762 | 30 | 36 | 936 | 0.131
Panels | TONGWEI | TW-410W MAP-108-H-S BF | 612 |  |  | 410 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.198
Panels | TONGWEI | TW-400W- MAP-108-H-FULL BLACK | 2 |  |  | 400 | Full Black | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.264
Panels | SUNPORT | SUNPORT SPP380QHES | 46 |  |  | 380 | Silver Frame | Flexible | 1 040 | 1 840 | 2.500 | 46 | 1 104 | 0.480
Panels | SUNPORT | SUNPORT SPP375QHES-B | 46 |  |  | 375 | Full Black | Flexible | 1 040 | 1 840 | 2.500 | 46 | 1 104 | 0.492
Panels | SUNMAN | SUNMAN_SMF430F | 162 |  |  | 430 | Silver Frame | Flexible | 1 080 | 2 054 | 2 | 66 | 1 320 | 0.372
Panels | LONGI | LR5-72HTH-575M | 827 | 03/2024 | 12 | 575 | Silver Frame | Glass foil | 1 134 | 2 278 | 35 | 31 | 620 | 0.156
Panels | JASOLAR | JAM54S30-420-GR-BF | 1 127 | 02/2024 | 7 | 420 | Black Frame | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.132
Panels | LONGI | LR5-72HTH-570M | 3 |  |  | 570 | Silver Frame | Glass foil | 1 134 | 2 278 | 35 | 31 | 620 | 0.148
Panels | JASOLAR | JAM72S20-460-MR | 5 |  |  | 460 | Silver Frame | Glass foil | 1 052 | 2 112 | 35 | 31 | 682 | 0.156
Panels | JASOLAR | JAM78S30-585/MR | 43 |  |  | 585 | Silver Frame | Glass foil | 1 134 | 2 465 | 35 | 31 | 496 | 0.147
Panels | JASOLAR | JAM60S20-385-MR-BF | 226 | 05/2024 | 20 | 385 | Black Frame | Glass foil | 1 052 | 1 769 | 35 | 31 | 806 | 0.156
Panels | JASOLAR | JAM72D40-580-MB | 3 |  |  | 580 | Silver Frame | Bifacial | 1 134 | 2 278 | 30 | 36 | 720 | 0.150
Panels | JASOLAR | JAM72D40-575-MB | 28 |  |  | 575 | Silver Frame | Bifacial | 1 134 | 2 278 | 30 | 36 | 720 | 0.150
Panels | JASOLAR | JAM72D30-550-MB-SF | 910 |  |  | 550 | Silver Frame | Double glass | 1 052 | 2 117 | 35 | 31 | 720 | 0.158
Panels | JASOLAR | JAM72D30-545-MB-SF | 6 242 | 04/2024 | 14 | 545 | Silver Frame | Double glass | 1 052 | 2 117 | 35 | 31 | 620 | 0.146
Panels | JASOLAR | JAM72D30-540-MB-SF | 16 |  |  | 540 | Silver Frame | Double glass | 1 052 | 2 117 | 35 | 31 | 620 | 0.132
Panels | JASOLAR | JAM66S30-505-MR BF | 4 535 | 05/2024 | 20 | 505 | Black Frame | Glass foil | 1 134 | 2 093 | 30 | 36 | 792 | 0.136
Panels | JASOLAR | JAM60S20-385-MR-BF [NEW] | 299 |  |  | 385 | Black Frame | Glass foil | 1 052 | 1 769 | 30 | 31 | 806 | 0.156
Panels | JASOLAR | JAM72D40-585-MB | 6 280 | 05/2024 | 20 | 585 | Silver Frame | Bifacial | 1 134 | 2 278 | 30 | 36 | 720 | 0.152
Panels | JASOLAR | JAM54S31-410-MR-ALLBLACK | 203 |  |  | 410 | Full Black | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.138
Panels | JASOLAR | JAM54S31-405-MR-ALLBLACK | 11 814 | 02/2024 | 7 | 405 | Full Black | Glass foil | 1 134 | 1 722 | 30 | 36 | 936 | 0.144
Inverters | SOLAX | X3-HYBRID-10KW | 9 | [5 empty] | 503 | 503 | 199 |  |  | 1 997
Inverters | SOLINTEG | MHT-10K-25 | 20 | [5 empty] | 418 | 534 | 210 |  |  | 1 300
Inverters | SOLINTEG | MHT-20K-40, with LAN | 77 | [5 empty] | 418 | 534 | 210 |  |  | 2 080
Inverters | SOLINTEG | MHT-25K-100 | 3 | [5 empty] | 620 | 800 | 300 |  |  | 4 036
Inverters | SOLINTEG | MHT-40K-100 | 2 | [5 empty] | 620 | 800 | 300 |  |  | 4 198
Inverters | GOODWE | GW60KN-MT | 11 | [5 empty] | 788 | 586 | 264 |  |  | 3 420
Inverters | HUAWEI | SUN2000-15KTL-M5 | 1 | [5 empty] | 460 | 546 | 228 |  |  | 1 590
Inverters | HUAWEI | Dummy SUN2000-10KTL-M1 HUAWEI | 1 | [5 empty] | 470 | 525 | 166
Inverters | SERMATEC | Sermatec 10kW Three phase hybrid inverter - SMT-10 | 247 | [5 empty] | 550 | 548 | 188 |  |  | 1 188
Inverters | HUAWEI | SUN2000-12KTL-M5 | 16 | [5 empty] | 460 | 546 | 228 |  |  | 1 590
Inverters | HUAWEI | SUN2000-25KTL-M5 | 4 | [5 empty] | 470 | 525 | 262 |  |  | 2 002
Inverters | HUAWEI | SUN2000-33KTL | 1 | [5 empty] | 550 | 930 | 283 |  |  | 1 922
Inverters | HUAWEI | SUN2000-3KTL-L1 | 15 | [5 empty] | 365 | 365 | 140 |  |  | 618
Inverters | SOLINTEG | MHT-50K-100 | 3 | [5 empty] | 620 | 800 | 300 |  |  | 4 818
Inverters | HUAWEI | SUN2000-40KTL-M3 | 2 | [5 empty] | 530 | 640 | 270 |  |  | 2 485
Inverters | HUAWEI | SUN2000-4KTL-M1 | 27 | [5 empty] | 470 | 525 | 146.500 |  |  | 959
Inverters | HUAWEI | SUN2000-50KTL-M3 | 2 | [5 empty] | 530 | 640 | 270 |  |  | 2 648
Inverters | HUAWEI | SUN2000-5KTL-L1 | 46 | [5 empty] | 365 | 365 | 156 |  |  | 818
Inverters | HUAWEI | SUN2000-5KTL-M1 | 6 | [5 empty] | 470 | 525 | 146.500 |  |  | 1 012
Inverters | HUAWEI | SUN2000-6KTL-L1 | 9 | [5 empty] | 365 | 365 | 156 |  |  | 937
Inverters | HUAWEI | SUN2000-100KTL-M2 | 6 | [5 empty] | 700 | 1 035 | 365 |  |  | 4 121
Inverters | HUAWEI | SUN2000-6KTL-M1 | 2 | [5 empty] | 470 | 525 | 146.500 |  |  | 1 141
Inverters | HUAWEI | SUN2000-8KTL-M1 | 9 | [5 empty] | 470 | 525 | 146.500 |  |  | 1 342
Inverters | HUAWEI | SUN2000L-2KTL-L1 | 1 | [5 empty] | 365 | 365 | 156 |  |  | 522
Inverters | HUAWEI | SUN2000-17KTL-M2 | 7 | [5 empty] | 470 | 525 | 262 |  |  | 1 916
Inverters | SUNGROW | SG10.0RT-V115 | 643 | [5 empty] | 480 | 370 | 195 |  |  | 962
Inverters | SUNGROW | SG250HX | 1 | [5 empty] | 660 | 1 051 | 363 |  |  | 6 480
Inverters | SUNGROW | SG125CX-P2-V113_S | 12 | [5 empty] | 795 | 1 020 | 360 |  |  | 4 546
Inverters | SOFAR | SOFAR 50KTLX-G3 | 289 | [5 empty] | 585 | 480 | 220 |  |  | 2 040
Inverters | SUNGROW | SH8.0RT | 31 | [5 empty] | 540 | 480 | 170 |  |  | 1 634
Inverters | SUNGROW | SH6.0RT | 58 | [5 empty] | 540 | 480 | 170 |  |  | 1 567
Inverters | SUNGROW | SH5.0RT | 26 | [5 empty] | 540 | 480 | 170 |  |  | 1 490
Inverters | SUNGROW | SH25T-V11 | 1 | [5 empty] | 620 | 245 | 480 |  |  | 3 212
Inverters | SUNGROW | SH15T-V11 | 1 | [5 empty] | 620 | 245 | 480 |  |  | 2 690
Inverters | SUNGROW | SH10RT | 2 | [5 empty] | 540 | 480 | 170 |  |  | 1 822
Inverters | SUNGROW | SG8.0RT-V115 | 969 | [5 empty] | 480 | 370 | 195 |  |  | 828
Inverters | SUNGROW | SG12.0RT-V115 | 27 | [5 empty] | 480 | 370 | 195 |  |  | 998
Inverters | SUNGROW | SG6.0RT-V115 | 371 | [5 empty] | 480 | 370 | 195 |  |  | 816
Inverters | SUNGROW | SG50CX-P2- V12_S | 51 | [5 empty] | 645 | 782 | 310 |  |  | 2 326
Inverters | SUNGROW | SG5.0RT-V115_S | 332 | [5 empty] | 480 | 370 | 195 |  |  | 798
Inverters | SUNGROW | SG40CX-V112 | 16 | [5 empty] | 645 | 782 | 310 |  |  | 2 131
Inverters | SUNGROW | SG350HX-V115 | 6 | [5 empty] | 870 | 1 136 | 361 | 1 |  | 8 363
Inverters | SUNGROW | SG6KTL-MT | 2 | [5 empty] | 485 | 370 | 160 |  |  | 1 160
Inverters | SUNGROW | SG12KTL-M | 4 | [5 empty] | 485 | 370 | 160 |  |  | 1 218
Inverters | SUNGROW | SG15.0RT-V115 | 427 | [5 empty] | 480 | 370 | 195 |  |  | 1 198
Inverters | SUNGROW | SG17.0RT-V11 | 32 | [5 empty] | 480 | 370 | 195 |  |  | 1 216
Inverters | SUNGROW | SG17.0RT-V115 | 37 | [5 empty] | 480 | 370 | 195 |  |  | 1 216
Inverters | SOFAR | SOFAR 50KTLX-G3 X2 + AC BOX | 1 | [5 empty] | 585 | 480 | 220 |  |  | 4 477
Batteries | SOLUNA | Soluna_S4_EU-A36 | 2 | [5 empty] | 700 | 1 230 | 340 |  |  | 1 869
Batteries | BYD | BYD_BATTERY_HVM | 6 | [10 empty] | 1 120
Batteries | BYD | BYD_BATTERY_HVS | 34 | [10 empty] | 1 108
Batteries | BYD | BYD_HVM/HVS_BCU+BASE | 27 | [10 empty] | 488
Batteries | DYNES | DYNESS_BDU_BASE | 1 | [5 empty] | 380 | 504 | 156.500 |  |  | 714
Batteries | DYNES | DYNESS_HV9637 | 3 | [5 empty] | 240 | 504 | 380 |  |  | 1 326
Batteries | SOFAR | BTS 5K-BDU | 1 | [5 empty] | 170 | 708 | 200 |  |  | 275
Batteries | SOFAR | BTS_5K_BATTERY_MODULE_5,12 | 2 | [5 empty] | 170 | 708 | 420 |  |  | 1 846
Batteries | SOLAX | T-BAT 5.8 HV11550 | 3 | [5 empty] | 193 | 474 | 647 |  |  | 2 238
Batteries | SOLAX | T-BAT 5.8 HV11550_repaired | 1 | [5 empty] | 193 | 474 | 647 |  |  | 415
Batteries | SOLINTEG | EBS-5150-BAS | 5 | [10 empty] | 96
Batteries | SOLINTEG | EBS-5150-BMS | 4 | [10 empty] | 492
Batteries | SOLUNA | SOLUNA_LIB_5KWH_BATT. | 6 | [5 empty] | 595 | 438 | 165 |  |  | 1 846
Batteries | SUNGROW | Sungrow SBR Battery module 3,2 kWh | 3 | [10 empty] | 1 183
Batteries | SUNGROW | Sungrow SBR Base + BMS | 11 | [10 empty] | 396
Batteries | SOLUNA | Soluna_10K_HV_LFP | 38 | [5 empty] | 332.400 | 86.200 | 232.400 |  |  | 4 440
EV Chargers | WALLBOX | Wallbox EV charger: Pulsar Plus -7,4kW/5m/T2/Black | 20 | [5 empty] | 163 | 166 | 88 |  |  | 609
EV Chargers | WALLBOX | Wallbox EV charger:Copper SB CPB1 (22kW / SOCKET / | 1 | [5 empty] | 192 | 260 | 113
EV Chargers | WALLBOX | Wallbox Power Meter - EM340 | 5 | [5 empty] | 90 | 54 | 63 |  |  | 183
EV Chargers | ZBENY | BENY EV Charger BCP-A1N-L | 3 | [5 empty] | 380 | 169 | 151 |  |  | 341
EV Chargers | ZBENY | BENY EV Charger BCP-AT1S-L | 2 | [5 empty] | 380 | 169 | 151 |  |  | 379
EV Chargers | HUAWEI | HUAWEI AC_CHARGER-1PH 7KW | 9 | [5 empty] | 145 | 180 | 335 |  |  | 648
EV Chargers | HUAWEI | HUAWEI AC_charger-3PH 22KW | 1 | [5 empty] | 145 | 180 | 335 |  |  | 679
EV Chargers | SUNGROW | Sungrow_11kW AC charger AC011E-01 | 2 | [5 empty] | 310 | 205 | 92 |  |  | 499
EV Chargers | WALLBOX | Wallbox Cable holder - metallic / black | 29 | [10 empty] | 40
EV Chargers | WALLBOX | Wallbox Cable holder - metallic / white | 25 | [10 empty] | 40
EV Chargers | WALLBOX | Wallbox EV charger: Pulsar - 7,4kW / 5m / T2 / bla | 1 | [5 empty] | 163 | 166 | 82 |  |  | 449
EV Chargers | WALLBOX | Wallbox EV charger: Pulsar - 7,4kW / 5m / T2 / whi | 2 | [5 empty] | 163 | 166 | 82 |  |  | 449
EV Chargers | WALLBOX | Wallbox EV charger: Pulsar Plus - 22kW/5m/T2/_BLK | 5 | [5 empty] | 163 | 166 | 82 |  |  | 588
EV Chargers | WALLBOX | Wallbox EV charger: Pulsar Plus -7,4kW/5m/T2/White | 11 | [5 empty] | 163 | 166 | 88 |  |  | 609
EV Chargers | WALLBOX | Wallbox Power Meter - EM112 | 9 | [5 empty] | 63 | 35 | 90 |  |  | 92
Accessories | HISENSE | HC-T-01M Ambient temperature sensor | 9 | [10 empty] | 42
Accessories | TIGO | TS4-A-2F,25A (Isc), 1400W Rapid shutdown | 3 431 | [5 empty] | 139.700 | 138.400 | 22.900 |  |  | 39
Accessories | SOLINTEG | Solinteg RMK-MA 120 three phase smart meter | 2 | [5 empty] | 85 | 75 | 54 |  |  | 101
Accessories | SOLUNA | Soluna Battery Monitoring Wi-Fi Communication Stic | 334 | [5 empty] | 130 | 48 | 36 |  |  | 43
Accessories | SOLUNA | Soluna HV PARRALLEL BOX | 22 | [5 empty] | 232.400 | 332.400 | 86.200 |  |  | 92
Accessories | SOLUNA | Soluna Liberty Battery rack | 2 | [5 empty] | 1 340 | 600 | 650 |  |  | 1 228
Accessories | SUNGROW | DTSU666 SUNGROW | 47 | [5 empty] | 72 | 100 | 65.500 |  |  | 134
Accessories | SUNGROW | Logger 4000 | 5 | [5 empty] | 44 | 440 | 224 |  |  | 796
Accessories | SUNGROW | S100 SINGLE PHASE ENERGY METTER | 1 | [5 empty] | 117 | 18 | 65 |  |  | 48
Accessories | SUNGROW | SGEYEM4 | 111 | [5 empty] | 130 | 48 | 36 |  |  | 146
Accessories | SOLINTEG | Solinteg RMK-5A Three phase smart meter | 6 | [5 empty] | 85 | 75 | 54 |  |  | 114
Accessories | SUNGROW | SUNGROW WiNet-S | 81 | [5 empty] | 132 | 48 | 36 |  |  | 84
Accessories | SUNMAN | MC4 CONNECTOR SUNMAN | 356
Accessories | SUNMAN | SUNMAN CS MATERIAL | 5 723 | [10 empty] | 1
Accessories | SUNMAN | SUNMAN DIMA MS 8201 glue | 256 | [10 empty] | 16
Accessories | SUNMAN | SUNMAN Seal It 380 Multifast | 829 | [10 empty] | 19
Accessories | SUNMAN | SUNMAN TBS ButyI Tape 656 | 49 | [10 empty] | 48
Accessories | SUNMAN | SUNMAN Tonsan 1527 glue | 636 | [10 empty] | 11
Accessories | TIGO | TS4-A-2F, 20A (Isc), 1000W Rapid shutdown | 1 496 | [5 empty] | 139.700 | 138.400 | 22.900 |  |  | 37
Accessories | HISENSE | HESE-3W25A Threeway directional valve | 4 | [10 empty] | 138
Accessories | SUNGROW | Sungrow AC Plate for SG125CX-P2 (5-holes) | 4 | [10 empty] | 20
Accessories | TIGO | Tigo Access Point (TAP) | 16 | [5 empty] | 130 | 126.200 | 26.800 |  |  | 36
Accessories | SOLINTEG | Solinteg LAN Module Integ R | 13 | [5 empty] | 51 | 123 | 35 |  |  | 32
Accessories | SOLAX | POCKET WFI DONGLE | 26 | [5 empty] | 96 | 46 | 29 |  |  | 23
Accessories | HTU | HTU LED screen Model:P2.0 | 1 | [5 empty] | 320 | 520 | 358 |  |  | 10 507
Accessories | HUAWEI | Backup Box-B1(HUAWEI LUNA2000-Back-up system 3-pha | 4 | [5 empty] | 350 | 400 | 130 |  |  | 599
Accessories | HUAWEI | DCDC Power Module-LUNA2000-10KW-C1 | 18 | [10 empty] | 959
Accessories | HUAWEI | DTSU666-H 250A | 46 | [5 empty] | 72 | 100 | 65.500 |  |  | 114
Accessories | HUAWEI | DTSU666-HW | 3 | [5 empty] | 72 | 100 | 80 |  |  | 173
Accessories | HUAWEI | HUAWEI Wi-Fi Dongle | 4 | [5 empty] | 515 | 571.400 | 264.100 |  |  | 48
Accessories | HUAWEI | LUNA2000 Wall Mounting Bracket | 2 | [10 empty] | 70
Accessories | HUAWEI | SDongleA-03-EU - Huawei Smart Dongle-4G | 6 | [5 empty] | 48 | 130 | 33 |  |  | 116
Accessories | SOLINTEG | DONGLE (WiFi2.0) SOLINTEG | 271 | [5 empty] | 51 | 123 | 35 |  |  | 23
Accessories | HUAWEI | SMARTLOGGER3000A03 | 3 | [5 empty] | 160 | 225 | 44 |  |  | 930
Accessories | HUAWEI | SUN2000-600W-P Smart PV Optimizer | 946 | [5 empty] | 138 | 71 | 28 |  |  | 42
Accessories | HUAWEI | dummy LUNA 2000-5-EO ( Luna Huawei Battery exstens | 1
Accessories | SERMATEC | Sermatec Parallel Box SMT-PB-10K | 10 | [5 empty] | 350 | 570 | 130 |  |  | 786
Accessories | SMARTFLOWER | Smartflower Spare Parts Kit Large | 1
Accessories | SOFAR | LTE Stick LS4G-3 (USB) | 15 | [10 empty] | 198
Accessories | SOLAR_EDGE | SolarEdge optimizer S1000-1GM4MBT, cable 4.8m | 6 | [5 empty] | 165 | 52 | 129 |  |  | 72
Accessories | SOLAR_EDGE | SolarEdge optimizer S1000-1GMXMBT cables 2x1.3 | 580 | [5 empty] | 165 | 52 | 129 |  |  | 75
Accessories | SOLAX | DTSU666-D SOLAX | 26 | [5 empty] | 72 | 100 | 65.500 |  |  | 85
Accessories | HUAWEI | SUN2000-450W-P2 Smart PV Optimizer | 26 | [5 empty] | 138 | 71 | 28 |  |  | 31
Accessories | TIGO | Tigo CCA kit | 216 | [5 empty] | 115 | 203 | 278.400 |  |  | 150
Accessories | TIGO | Transmitter 120/240VAC PS, Outdoor Enclosure kit | 79 | [5 empty] | 130 | 126.200 | 26.800 |  |  | 97
Accessories | TIGO | Transmitter,Dual Core, Pure Signal RSS , Din Rail | 139 | [5 empty] | 130 | 126.200 | 26.800 |  |  | 37
Accessories | HISENSE | HTS-E1000A1 Water Temperature sensor | 9 | [10 empty] | 42
Accessories | HISENSE | HSXE-VC04 Room thermostat | 6 | [10 empty] | 96
Accessories | HISENSE | HCCS-H64H2C1M HI-MIT (ATW) Wifi Module | 9 | [10 empty] | 120
Accessories | HISENSE | HCT-S01E Temperature sensor for installation | 3 | [10 empty] | 42
Constructions | ANTAI | ANTAI_FENCE_SOLAR sample | 1 | [10 empty] | 420
Constructions | ANTAI | ANTAI_JBS0005600 Self-Tapping Screw | 700
Constructions | ANTAI | ANTAI_RAIL_CAP B0603-NW024DG-01 | 120 | [10 empty] | 1
Constructions | ANTAI | ANTAI_WIND DEFLECTOR | 167 | [10 empty] | 3
Constructions | ANTAI | Antai_Tile Roof Hook 2 W30 H70 | 500 | [10 empty] | 4
Constructions | ANTAI | Antai_Tile Roof Hook 3 W30 H185 | 300 | [10 empty] | 5
Constructions | ANTAI | Antai_Tile Roof Hook L=140 W30 | 980 | [10 empty] | 4
Constructions | ANTAI | ANTAI_C0501-TYN16-04 Grounding Lug | 1 302 | [10 empty] | 1
Constructions | ANTAI | ANTAI_A0102-TYN424-01 Beam | 577 | [6 empty] | 5 300 |  |  |  | 16
Constructions | ANTAI | Nanocarport_Y Design Waterproof Carport 3x10 4cars | 4 | [10 empty] | 3 208
Constructions | ANTAI | Nanocarport_Y Design Waterproof Carport 3x3 1 car | 5 | [10 empty] | 1 693
Constructions | ANTAI | Nanocarport_Y Design Waterproof Carport 3x5 2 cars | 5 | [10 empty] | 2 240
Constructions | ANTAI | Nanoracking Argo PV SET_1_12142022 13.85(H)x8.5(V) | 2 | [10 empty] | 4 292
Constructions | ANTAI | Nanoracking Argo PV SET_2_12142022 27.6(H)x8.5(V) | 6 | [10 empty] | 8 585
Constructions | ANTAI | Nanoracking Argo PV SET_3_12142022 34.45(H)x16.3 V | 1 | [10 empty] | 13 230
Constructions | MOUNTING | End Clamp 30-40mm Steel | 15 | [10 empty] | 18
Constructions | MOUNTING | roof protection mat alu 370x150mm | 2 450
Constructions | ANTAI | Nanocarport_Y COMMERCIAL EXTENSION PKG. 3x3 1car | 16 | [10 empty] | 1 040
Constructions | ANTAI | Nanocarport_Y COMMERCIAL BASIC PACKAGE 3x16 5 cars | 7 | [10 empty] | 5 544
Constructions | ANTAI | ANTAI_C0402-CJ092-01 TYN 450 Mini Rail for Trapezb | 4 188 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0401-AU001-03 Tile Roof Hook | 7 730 | [10 empty] | 4
Constructions | ANTAI | ANTAI_A0104-TYN417-01 Rail | 880 | [6 empty] | 4 700 |  |  |  | 18
Constructions | ANTAI | ANTAI_A0301-F35x35x2-01 Pole | 10 | [6 empty] | 210 |  |  |  | 1
Constructions | ANTAI | ANTAI_B0601-JDP20-01 Earthing Clip | 14 231
Constructions | ANTAI | ANTAI_B0601-JDP29-01 Earthing Clip | 2 860
Constructions | ANTAI | ANTAI_BEAM_CAP B0603-TYN258DG-01 | 70 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0101-TYN427-01 Connector | 10 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0102-TYN423-01 Front Base | 10 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0402-CJ025-73 L Feet Kit with M10X300 Hange | 1 000 | [10 empty] | 3
Constructions | ANTAI | ANTAI_C0102-TYN426-01 Rear Base | 10 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0103-TYN436-03 Mid Clamp (30mm Panel) | 6 754 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0104-TYN433-01 End Clamp (30mm Panel) | 1 431 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0104-TYN433-03 End Clamp (30mm Panel) | 26 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0104-TYN434-01 End Clamp (35/40mm Panel) | 2 011 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0104-TYN434-03 End Clamp (35/40mm Panel) | 3 273 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0106-TYN418-01 Rail Splice | 266 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0106-TYN425-01 Beam Splice | 218 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0103-GN003-27 Mid Clamp (35/40mm Panel) | 8 419 | [10 empty] | 1
Constructions | ANTAI | ANTAI_C0402-CJ025-29 L Feet Kit with M10X250 Hange | 830 | [10 empty] | 2
Portable Power Station | BLUETTI | B300 BATTERY BLUETTI | 18 | [5 empty] | 320 | 520 | 266 |  |  | 1 654
Portable Power Station | BLUETTI | PV350 SOLAR PANEL 350W BLUETTI | 25 |  |  | 350 |  |  | 613 | 905 | 65 |  |  | 677
Portable Power Station | BLUETTI | EP500PRO MOVABLE POWER STATION BLUETTI | 2 | [5 empty] | 300 | 580 | 760 |  |  | 4 072
Portable Power Station | BLUETTI | AC300 POWER STATION BLUETTI | 3 | [5 empty] | 320 | 520 | 358 |  |  | 1 548
Portable Power Station | BLUETTI | B230 BATTERY BLUETTI | 4 | [5 empty] | 280 | 420 | 227.500 |  |  | 1 157
Heat Pumps | HISENSE | AHZ-080HCDS1 Heat Pump Outdoor Unit | 1 | [10 empty] | 2 364
Heat Pumps | HISENSE | AHW-160HEDS1 Heat Pump Outdoor Unit | 2 | [10 empty] | 2 478
Heat Pumps | HISENSE | AHW-140HEDS1 Heat Pump Outdoor Unit | 1 | [10 empty] | 2 436
Heat Pumps | HISENSE | AHW-100HEDS1 Heat Pump Outdoor Unit | 1 | [10 empty] | 2 118
Heat Pumps | HISENSE | AHW-080HCDS1 Heat Pump Outdoor Unit | 1 | [10 empty] | 996
Heat Pumps | HISENSE | AHW-060HCDS1 Heat Pump Outdoor Unit | 1 | [10 empty] | 984
Heat Pumps | HISENSE | AHM-160HEDSAA Heat Pump Internal Unit | 2 | [10 empty] | 1 440
Heat Pumps | HISENSE | AHM-140HEDSAA Heat Pump Internal Unit | 1 | [10 empty] | 1 332
Heat Pumps | HISENSE | AHM-100HEDSAA Heat Pump Internal Unit | 1 | [10 empty] | 1 170
Heat Pumps | HISENSE | AHM-080HCDSAA Heat Pump Internal Unit | 1 | [10 empty] | 1 698
Heat Pumps | HISENSE | AHM-060HCDSAA Heat pump Internal Unit 1 pc 0% | 1 | [10 empty] | 1 512
SmartFlowers | SMARTFLOWER | SmartFlower 50Hz 3-Phase - Amber colour | 2 | [5 empty] | 1 194 | 1 651 | 2 692 |  |  | 34 116
SmartFlowers | SMARTFLOWER | SmartFlower 50Hz 3-Phase - Porcelain colour | 3 | [5 empty] | 1 194 | 1 651 | 2 692 |  |  | 32 616
SmartFlowers | SMARTFLOWER | SmartFlower 50Hz SINGLE Phase - PEARL colour | 1 | [5 empty] | 1 194 | 1 651 | 2 692 |  |  | 32 616
SmartFlowers | SMARTFLOWER | SmartFlower 50Hz SINGLE Phase - PORCELAIN colour | 1 | [5 empty] | 1 194 | 1 651 | 2 692 |  |  | 32 616
Cables |  | solární kabel H1Z2Z2-K 1x6 červená | 900 | [10 empty] | 1
Cables |  | solární kabel H1Z2Z2-K 1x6 černá | 4 000 | [10 empty] | 1